# User Requirements Specification (URS)

Document ID: URS-001

System Name: Sample Laboratory Information System

Version: 1.0

Date: 2025-01-01

## 1. Introduction

This User Requirements Specification defines the functional and non-functional requirements for the Sample Laboratory Information System.

## 2. Functional Requirements

### 2.1 REQ-001: User Authentication

Requirement: The system shall require users to log in with a unique username and password.

Acceptance Criteria: User successfully logs in with valid credentials and is denied access with invalid credentials.

### 2.2 REQ-002: Password Requirements

Requirement: The system shall enforce password complexity requirements: minimum 8 characters, including uppercase, lowercase, numbers, and special characters.

Acceptance Criteria: System rejects passwords that do not meet complexity requirements.

### 2.3 REQ-003: User Roles and Permissions

Requirement: The system shall support multiple user roles (Administrator, Analyst, Reviewer) with different permission levels.

Acceptance Criteria: Users can only access features and data appropriate to their assigned role.

### 2.4 REQ-004: Sample Registration

Requirement: The system shall allow authorized users to register new samples with unique sample IDs, sample type, and collection date.

Acceptance Criteria: New samples are successfully registered with all required information and assigned unique IDs.

### 2.5 REQ-005: Test Assignment

Requirement: The system shall allow users to assign laboratory tests to registered samples.

Acceptance Criteria: Tests are successfully assigned to samples and appear in the work queue.

### 2.6 REQ-006: Result Entry

Requirement: The system shall allow analysts to enter test results with units of measurement.

Acceptance Criteria: Test results are entered successfully and stored in the database.

### 2.7 REQ-007: Result Review

Requirement: The system shall require results to be reviewed and approved by a second user before being finalized.

Acceptance Criteria: Results cannot be finalized without review approval from an authorized reviewer.

### 2.8 REQ-008: Audit Trail

Requirement: The system shall maintain an audit trail of all data entries, modifications, and deletions including user ID, date/time, and reason for change.

Acceptance Criteria: All system actions are logged with complete audit information.

### 2.9 REQ-009: Data Backup

Requirement: The system shall perform automated daily backups of all data.

Acceptance Criteria: Backups are created successfully each day and can be restored if needed.

### 2.10 REQ-010: Report Generation

Requirement: The system shall allow users to generate PDF reports of sample test results.

Acceptance Criteria: Reports are generated successfully in PDF format with all relevant sample and result information.

## 3. Non-Functional Requirements

### 3.1 REQ-NF-001: Performance

Requirement: The system shall respond to user actions within 2 seconds under normal load.

Acceptance Criteria: Response time measurements show 95% of actions complete within 2 seconds.

### 3.2 REQ-NF-002: Availability

Requirement: The system shall be available 99.5% of the time during business hours.

Acceptance Criteria: System uptime logs demonstrate 99.5% or greater availability.

### 3.3 REQ-NF-003: Data Integrity

Requirement: The system shall prevent unauthorized modification or deletion of finalized data.

Acceptance Criteria: Attempts to modify finalized data are prevented and logged.

## 4. Compliance Requirements

This system must comply with FDA 21 CFR Part 11 for electronic records and electronic signatures.